## S7_Tools_Parameters
Supplementary Table S7. Software versions, access dates, and computational parameters used for the evaluation of open-source metabolomics tools
Tool | Version / access date | Analysis step | Parameter | Value / Setting | Source
XCMS | v3.12.0; accessed March–April 2023 | Peak detection | Peak detection algorithm | centWave | https://bioconductor.org/help/course-materials/2019/CSAMA/materials/labs/lab-05-metabolomics/preprocessing-untargeted-metabolomics.html
XCMS |  | Peak detection | Mass tolerance (ppm) | 25 ppm | https://bioconductor.org/help/course-materials/2019/CSAMA/materials/labs/lab-05-metabolomics/preprocessing-untargeted-metabolomics.html
XCMS |  | Peak detection | Expected peak width | 20–50 s | https://bioconductor.org/help/course-materials/2019/CSAMA/materials/labs/lab-05-metabolomics/preprocessing-untargeted-metabolomics.html
XCMS |  | Peak detection | Signal-to-noise threshold (snthresh) | 10 | https://bioconductor.org/help/course-materials/2019/CSAMA/materials/labs/lab-05-metabolomics/preprocessing-untargeted-metabolomics.html
XCMS |  | Peak detection | Prefilter | 3 peaks ≥ 100 a.u. | https://bioconductor.org/help/course-materials/2019/CSAMA/materials/labs/lab-05-metabolomics/preprocessing-untargeted-metabolomics.html
XCMS |  | Peak detection | m/z center function | weighted mean (wMean) | https://bioconductor.org/help/course-materials/2019/CSAMA/materials/labs/lab-05-metabolomics/preprocessing-untargeted-metabolomics.html
XCMS |  | Peak detection | Peak integration | 1 | https://bioconductor.org/help/course-materials/2019/CSAMA/materials/labs/lab-05-metabolomics/preprocessing-untargeted-metabolomics.html
XCMS |  | Retention-time correction | RT correction method | Obiwarp | https://www.bioconductor.org/packages/release/bioc/manuals/xcms/man/xcms.pdf
XCMS |  | Feature grouping | Grouping bandwidth (bw) | 30 s | https://www.bioconductor.org/packages/release/bioc/manuals/xcms/man/xcms.pdf
XCMS |  | Feature grouping | Minimum fraction | 0.5 | https://www.bioconductor.org/packages/release/bioc/manuals/xcms/man/xcms.pdf
Mzmine | Version 3; accessed April 2023 | Mass detection | Mass detector | Centroid | https://mzmine.github.io/mzmine_documentation/latest/wizard.html
Mzmine |  | Mass detection | MS1 noise threshold | 1,000 a.u. | https://mzmine.github.io/mzmine_documentation/latest/wizard.html
MZmine |  | Chromatogram building / resolving | Minimum consecutive scans | 5 scans | https://mzmine.github.io/mzmine_documentation/latest/wizard.html
MZmine |  | Feature detection | Minimum feature height | 100,000 a.u. | https://mzmine.github.io/mzmine_documentation/latest/wizard.html
MZmine |  | Alignment | m/z tolerance | 5 ppm | https://mzmine.github.io/mzmine_documentation/latest/wizard.html
MZmine |  | Alignment | Retention-time tolerance | 0.2 min | https://mzmine.github.io/mzmine_documentation/latest/wizard.html
MZmine |  | Alignment | Alignment algorithm | Join Aligner | https://mzmine.github.io/mzmine_documentation/latest/wizard.html
GNPS | Web platform; accessed March–April 2023 | Molecular networking | Workflow | Classical Molecular Networking | https://ccms-ucsd.github.io/GNPSDocumentation/networking/
GNPS |  | Molecular networking | Precursor ion mass tolerance | 0.02 Da | https://ccms-ucsd.github.io/GNPSDocumentation/networking/
GNPS |  | Molecular networking | Fragment ion mass tolerance | 0.02 Da | https://ccms-ucsd.github.io/GNPSDocumentation/networking/
GNPS |  | Molecular networking | Minimum cosine score | 0.7 | https://ccms-ucsd.github.io/GNPSDocumentation/networking/
GNPS |  | Molecular networking | Minimum matched fragment peaks | 6 | https://ccms-ucsd.github.io/GNPSDocumentation/networking/
GNPS |  | Molecular networking | Node TopK | 10 | https://ccms-ucsd.github.io/GNPSDocumentation/networking/
GNPS |  | Molecular networking | Minimum cluster size | 2 | https://ccms-ucsd.github.io/GNPSDocumentation/networking/
SIRIUS | Version 4; accessed March–August 2023 | Molecular formula prediction | Input spectral level | MS²
SIRIUS |  | Molecular formula prediction | Instrument profile | Orbitrap | https://boecker-lab.github.io/docs.sirius.github.io/cli/
SIRIUS |  | Molecular formula prediction | Maximum mass deviation | 5 ppm | https://boecker-lab.github.io/docs.sirius.github.io/cli/
SIRIUS |  | Molecular formula prediction | Formula/structure workflow | Fragmentation trees + CSI:FingerID
SIRIUS |  | Molecular formula prediction | Molecular formula alphabet / element constraints | CHNOPS | https://boecker-lab.github.io/docs.sirius.github.io/cli/
CANOPUS | Integrated in SIRIUS v4; accessed March–August 2023 | Chemical-class prediction | Input | MS²-derived molecular fingerprints from SIRIUS/CSI:FingerID
CANOPUS |  | Chemical-class prediction | Classification framework | CANOPUS
CANOPUS |  | Chemical-class prediction | Chemical ontology | ClassyFire
CANOPUS |  | Chemical-class prediction | Additional numerical parameters | No additional user-defined numerical parameters
MASST | GNPS platform; accessed March–April 2023 | Spectral similarity search | Parent mass tolerance | 2.0 Da | https://ccms-ucsd.github.io/GNPSDocumentation/masst/
MASST |  | Spectral similarity search | Ion tolerance | 0.5 Da | https://ccms-ucsd.github.io/GNPSDocumentation/masst/
MASST |  | Spectral similarity search | Cosine score threshold | 0.7 | https://ccms-ucsd.github.io/GNPSDocumentation/masst/
MASST |  | Spectral similarity search | Minimum matched peaks | 6 | https://ccms-ucsd.github.io/GNPSDocumentation/masst/
MASST |  | Spectral similarity search | Top hits per spectrum | 1 | https://ccms-ucsd.github.io/GNPSDocumentation/masst/
MASST |  | Spectral similarity search | Analog search | Disabled ('Don't Search') | https://ccms-ucsd.github.io/GNPSDocumentation/masst/
MASST |  | Spectral similarity search | Search scope | Public GNPS mass spectrometry datasets | https://ccms-ucsd.github.io/GNPSDocumentation/masst/